Solar PV Maintenance Checklist

| CLIENT NAME | SITE ADDRESS | SYSTEM ASSET NUMBER |
| --- | --- | --- |
| JOB NUMBER |  | DATE OF VISIT |

| EQUIPMENT DETAILS | RECORD DETAILS |
| --- | --- |
| MANUFACTURER |  |
| MODEL NUMBER |  |
| SERIAL NUMBER |  |
| LOCATION |  |

| MAINTENANCE TASK | DESCRIPTION | STATUS |
| --- | --- | --- |
| General Maintenance |  |  |
| Clean solar panels | Remove dirt, dust and debris from the surface of panels | - |
| Check for shading | Ensure no obstructions cast shadows on panels | - |
| Inspect mounting hardware | Tighten bolts and brackets if necessary | - |
| Trim nearby vegetation | Trim trees or bushes that could shade panels | - |
| Check for signs of damage | Inspect panels for cracks, scratches, or other damage | - |
| Electrical Components |  |  |
| Inspect wiring and connections | Ensure all connections are secure and free from corrosion | - |
| Test DC voltage | Measure voltage output from panels to inverter | - |
| Test AC voltage | Measure voltage output from inverter to grid | - |
| Inspect disconnect switches | Check functionality and ensure proper labeling | - |
| Check inverter logs | Review error logs for any issues or abnormalities | - |
| System Performance |  |  |
| Monitor energy production | Compare actual output to expected output for time of year | - |
| Check monitoring system | Ensure monitoring software is working correctly | - |
| Review historical data | Analyse trends to identify any potential performance issues | - |
| Verify meter readings | Confirm meter readings match expected production | - |
| Test backup power system | If applicable, ensure backup power system is functional | - |

IP 02-05-05-07 Version 1

Signature

Name

ENGINEER

ADDITIONAL NOTES AND TASKS CARRIED OUT