COMMERCIAL KITCHEN

VENTILATION RISK ASSESSMENT

| COMPANY NAME Gas Safe Reg No: 00000 W: WEB E: EMAIL Job Number: | CLIENT DETAILS |
| --- | --- |
|  | Name: |
|  | Address: |
|  | Postcode: |
|  | Date: |

| RISK ANALYSIS OF KITCHEN VENTILATION SYSTEM MECHANICAL VENTILATION |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| This risk assessment should be used in accordance with HSE Catering Information Sheet 23 (CAIS 23) |  |  |  |  |  |  |  |  |  |  |  |  |
| A Commercial Catering Gas Safety Inspection should be completed at least once annually by a competent Gas Safe registered engineer |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 0 = Low Risk 4 = High Risk |  |  |  |  |
| HAZARDS IDENTIFIED |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 0 | 1 | 2 | 3 | 4 |
| Is there any evidence that the ventilation system is not used or is unreliable? |  |  |  |  |  |  |  |  |  |  |  |  |
| Is there a particularly small room volume for the appliances & canopy? |  |  |  |  |  |  |  |  |  |  |  |  |
| Are there any obvious poor design faults / maintenance of the ventilation system? (i.e. long, convoluted ducts, broken fans, leaking ductwork, visible escape of cooking fumes / steam etc) |  |  |  |  |  |  |  |  |  |  |  |  |
| Is there a lack of user awareness of the effects of using gas appliances without adequate ventilation? |  |  |  |  |  |  |  |  |  |  |  |  |
| Is there poor general ventilation? |  |  |  |  |  |  |  |  |  |  |  |  |
| Is there extensive use of gas-fired appliances for long periods? |  |  |  |  |  |  |  |  |  |  |  |  |
| Is there any of the system / installation ageing? |  |  |  |  |  |  |  |  |  |  |  |  |
| Is there a lack of routine or planned maintenance? |  |  |  |  |  |  |  |  |  |  |  |  |
| Is there an appropriate ventilation system interlock to shut off the gas in the event of failure? |  |  |  |  |  |  |  |  |  |  |  |  |
| Are there clear, permanent notices warning that appliances must not be used without the ventilation system in operation? |  |  |  |  |  |  |  |  |  |  |  |  |
| CONTROL MEASURES IDENTIFIED TO AVOID OR MINIMISE RISK |  |  |  |  |  |  | RISK ASSESSMENT SCORE = |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  | A SCORE OF 26 TO 40 IS HIGH RISK - NOT ACCEPTABLE |  |  |  |  |  |
| 3 |  |  |  |  |  |  | A SCORE OF 15 TO 24 IS MEDIUM RISK - NOT ACCEPTABLE |  |  |  |  |  |
| 4 5 |  |  |  |  |  |  | A SCORE OF 0 TO 14 IS LOW RISK - ACCEPTABLE |  |  |  |  |  |
| 5 |  |  |  |  |  |  | ANY USER OF GAS WHO HAS ANY CONCERNS ABOUT THE SAFETY OF THEIR INSTALLATION SHOULD NOT WAIT UNTIL THE NEXT ROUTINE MAINTENANCE VISIT OR BREAKDOWN, BUT SEEK URGENT ADVICE FROM A COMPETENT GAS ENGINEER AND, WHERE NECESSARY, A VENTILATION EXPERT. |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  | DETAILS OF FURTHER WORK REQUIRED |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |
| IS THE RISK SCORE ACCEPTABLE AFTER CONTROL MEASURES? |  |  |  |  |  |  |  |  |  |  |  |  |
| YES |  |  |  | NO |  |  |  |  |  |  |  |  |

| Engineer | Name | Signature |
| --- | --- | --- |