## Sheet1
Electrical Installation Inspection Sheet
CLIENT NAME | SITE ADDRESS |  |  |  |  | DATE OF VISIT
JOB NUMBER
INSPECTION TASKS |  |  | SATISFACTORY (YES / NO) |  | COMMENTS
Brackets Installed Correctly & As Per Specification
All Traywork Is Straight, Uniform & Suitably Supported
Caps Fitted To Unistrut / Rods (If Applicable)
Rods Cut Down To 25mm Max
Suitable Fixings Correctly Used
All Light Fittings Are Neatly Installed, Level & As Per Drawing
Traywork Is Installed At Correct Height & Set Out Correctly
All Switches / Accessories Are Correctly Positioned, Easily Accessible, Level & Secure
Zipties Are Uniformly Set Out & Cut Back
Isolators Are Installed To All Pieces Of Equipment & Are Easily Accessible
All Access Covers / Lids Are In Place & Firmly Secure
Fire Collars Installed At All Fire Compartments / As Per Drawing
All Distribution Boards Are Correctly Positioned, Level & Accessible For Maintenance
All Distribution Board Covers Are Securely Installed & Locked Where Required
All Distribution Boards / Other Enclosures Are Clean Internally / Externally - Free From Any Debris
All Trunking Is Neat & Has Rosettes / Collars Installed
All Trunking Lids Are Neatly Installed
All Plant Items Fitted As Per Drawing & Accessible For Maintenance
Safe Working / Isolation Procedure Is In Place & The Authorised Person Is Known
All Record Drawings Updated As Required To Reflect Changes
ADDITIONAL NOTES AND TASKS CARRIED OUT
|  | ENGINEER |  | Name |  |  | Signature
IP 02-05-11-08 Version 1