## CAL06
Project No.
Project
Title
Schedule No.
Revision
Date
TO BE USED FOR INITIAL CALCUALTIONS ONLY - UP TO STAGE 3. NOT ACCEPTABLE FOR STAGE 4 ON WARDS
Section | Item | KW | Flow (m3/hr) | Flow (m3/s) | Pipe Size (mm) | Pa/m | Length (m) | 50% Fittings or (Eq.Length) | Pressue Drop (Pa) | Notes
(Operating Pressure < 25mBar = 1.0mBar (100Pa), PD >25mBar = 10%)
Index 1 - meter to boiler | [10 empty] | Total Load: |  |  |  | Pa/m check (70Pa):
1 | [8 empty] | 0 |  | Main Boilers | 240 | 22.3256 | 0.0062016 | 50% fittings | #REF!
2 | [8 empty] | 0 |  | Lochinvar Gas WH | 20 | 1.8605 | 0.0005168 |  | #REF!
3 | [8 empty] | 0 |  | Swimming pool Boilers | 320 | 29.7674 | 0.0082687
4 | [8 empty] | 0 |  | Kitchen | 205 | 19.0698 | 0.0052972 | Pa/m = | #REF!
5 | [8 empty] | 0
6 | [10 empty] | Total | 785 | 73.0233 | 0.020284
[8 empty] | Total | 0 | Pa (<100pa Rqd)
Notes:
IP 02-05-13-5401 Version 1