HV Permit to Work

To …………………………………………………………………………………………………...........................................

The following High Voltage Apparatus has been made safe in accordance with the MDSR for the work detailed on this Permit-to-Work to proceed:

………………………………………………………………………………………………………………………………………………………..…………………………………………………………………………………………………………………….

TREAT ALL OTHER APPARATUS AS LIVE

The points of isolation are:

………………………………………………………………………………………………………………………………………………………..…………………………………………………………………………………………………………………….

Circuit Main Earths are applied at: ………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………

Other precautions and information required to be entered by MDSR 3.2.1(b), 4.6.2(c), 5.5.3 and 5.10.2(b) and any local instructions applicable to the work.

…………………………………………………………………………………………………………….………………………………………….………………………………………………………………………………………………………………………

The following work to be carried out: ………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………

Signed:				Print Name:				Time:		  Date:

2. RECEIPT

I accept responsibility for carrying out the work on the Apparatus detailed on this Permit-to-Work and no attempt will be made by me, or by the persons under my charge, to work on any other Apparatus.

Signed:				Print Name:				Time:		  Date:

3. CLEARANCE

All persons under my charge have been withdrawn and warned that it is no longer safe to work on the Apparatus detailed on this Permit-to-Work, and all Additional Earths have been removed or accounted for (see MDSR 4.3.5 (b)).

The work is complete*/incomplete* - All gear and tools have*/have not* been removed * Delete words not applicable

Signed:				 Print Name:				Time:		  Date:

4. CANCELLATION

This Permit-to-Work is cancelled.

Signed:				Print Name:				Time:		  Date: