HV Permit to Energise

Purpose

To formally authorise the energisation or re-energisation of High Voltage equipment following installation, testing, commissioning, maintenance or isolation. Energisation shall only proceed when all required checks are complete and the SAP/AP confirms the system is safe to energise.

A. Energisation Details

Project: ……………………………………………………………………………………………………………………………

Site Location / Switchroom: …………………………………………………………………………………………………….

Equipment to be energised: …………………………………………………………………………………………………….

B. Pre-Energisation Checks

Check	Requirement								Comment / Reference

[ ]	All permits and sanctions cancelled or suspended as required …………………………………………………..

[ ]	All persons accounted for and clear of danger………………………………………………………………………

[ ]	Tools, temporary equipment and waste removed…………………………………………………………………..

[ ]	All temporary earths removed where required……………………………………………………………………….

[ ]	Permanent earthing and bonding confirmed…………………………………………………………………………

[ ]	Covers, guards and barriers reinstated……………………………………………………………………………….

[ ]	Protection settings confirmed………………………………………………………………………………………….

[ ]	Test certificates completed and reviewed……………………………………………………………………………

[ ]	Labels and warning notices installed…………………………………………………………………………………

[ ]	Access doors/covers secured…………………………………………………………………………………………

[ ]	Affected parties notified………………………………………………………………………………………………..

[ ]	Emergency arrangements confirmed…………………………………………………………………………………

C. Energisation Conditions

Any abnormal conditions ……………………………………………………………………………………………………….

D. Authorisation and Acceptance

Authorised by SAP / AP:

Name					Signature:			Date & Time

Accepted by Responsible Person:

Name					Signature			Date & Time

E. Post-Energisation Confirmation

Following energisation, equipment status shall be verified and any abnormal condition shall be reported immediately.

Confirmed by SAP / AP:

Name					Signature			Date & Time

Witnessed / Received by Responsible Person:

Name					Signature			Date & Time