LV Assembly Design Review & Sign-Off

# Document Control

| Field | Details |
| --- | --- |
| Customer / Project |  |
| Job Number |  |
| Panel / Switchgear Reference |  |
| Drawing Revision |  |
| Prepared By |  |
| Date |  |

# LV Assembly Design Requirements

| No. | Check / Requirement | Status | By | Comments |
| --- | --- | --- | --- | --- |
| 1 | Single line diagram reviewed | Yes / No / N/A |  |  |
| 2 | Assembly rating confirmed | Yes / No / N/A |  |  |
| 3 | Incoming supply rating confirmed | Yes / No / N/A |  |  |
| 4 | Fault level / short circuit requirements confirmed | Yes / No / N/A |  |  |
| 5 | Busbar arrangement reviewed | Yes / No / N/A |  |  |
| 6 | Form of separation confirmed | Yes / No / N/A |  |  |
| 7 | IP rating confirmed | Yes / No / N/A |  |  |
| 8 | Protective device breaking capacity confirmed | Yes / No / N/A |  |  |
| 9 | Cable entry and glanding space confirmed | Yes / No / N/A |  |  |

# Design Deliverables

| No. | Check / Requirement | Status | By | Comments |
| --- | --- | --- | --- | --- |
| 1 | General arrangement drawing complete | Yes / No / N/A |  |  |
| 2 | Panel layout drawing complete | Yes / No / N/A |  |  |
| 3 | Door layout drawing complete | Yes / No / N/A |  |  |
| 4 | Electrical schematics complete | Yes / No / N/A |  |  |
| 5 | Terminal schedule complete | Yes / No / N/A |  |  |
| 6 | Cable schedule complete where applicable | Yes / No / N/A |  |  |
| 7 | I/O schedule complete where applicable | Yes / No / N/A |  |  |
| 8 | Bill of materials complete | Yes / No / N/A |  |  |
| 9 | PLC / HMI information complete where applicable | Yes / No / N/A |  |  |

# Design Checks

| No. | Check / Requirement | Status | By | Comments |
| --- | --- | --- | --- | --- |
| 1 | Component selection suitable | Yes / No / N/A |  |  |
| 2 | Cable sizing suitable | Yes / No / N/A |  |  |
| 3 | Protective devices suitable | Yes / No / N/A |  |  |
| 4 | Heat dissipation considered | Yes / No / N/A |  |  |
| 5 | Segregation suitable | Yes / No / N/A |  |  |
| 6 | Access and maintainability considered | Yes / No / N/A |  |  |
| 7 | Labels and terminal references clear | Yes / No / N/A |  |  |
| 8 | FAT requirements defined | Yes / No / N/A |  |  |

# Safety and Compliance

| No. | Check / Requirement | Status | By | Comments |
| --- | --- | --- | --- | --- |
| 1 | Earthing and bonding arrangement reviewed | Yes / No / N/A |  |  |
| 2 | Shrouding and barriers included | Yes / No / N/A |  |  |
| 3 | Interlocks considered | Yes / No / N/A |  |  |
| 4 | Thermal performance / ventilation considered | Yes / No / N/A |  |  |
| 5 | Labels and warning notices specified | Yes / No / N/A |  |  |
| 6 | Routine verification requirements identified | Yes / No / N/A |  |  |

# Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Completed By |  |  |  |
| Checked By |  |  |  |
| Approved By |  |  |  |