Functional Test & FAT Record

# Document Control

| Field | Details |
| --- | --- |
| Customer / Project |  |
| Job Number |  |
| Panel / Switchgear Reference |  |
| Drawing Revision |  |
| Prepared By |  |
| Date |  |

# Functional Testing

| No. | Check / Requirement | Status | By | Comments |
| --- | --- | --- | --- | --- |
| 1 | Power-up checks complete where safe and applicable | Yes / No / N/A |  |  |
| 2 | Control circuit testing complete | Yes / No / N/A |  |  |
| 3 | Functional sequence tested | Yes / No / N/A |  |  |
| 4 | Alarm and trip testing complete | Yes / No / N/A |  |  |
| 5 | PLC / HMI demonstration complete where applicable | Yes / No / N/A |  |  |
| 6 | Inputs and outputs simulated where applicable | Yes / No / N/A |  |  |
| 7 | Operator controls checked | Yes / No / N/A |  |  |
| 8 | Safety functions checked where applicable | Yes / No / N/A |  |  |

# Factory Acceptance Test

| No. | Check / Requirement | Status | By | Comments |
| --- | --- | --- | --- | --- |
| 1 | FAT scope agreed | Yes / No / N/A |  |  |
| 2 | Customer witness required / not required | Yes / No / N/A |  |  |
| 3 | Snags recorded | Yes / No / N/A |  |  |
| 4 | Snags closed or accepted | Yes / No / N/A |  |  |
| 5 | FAT accepted by responsible person / customer | Yes / No / N/A |  |  |

# Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Completed By |  |  |  |
| Checked By |  |  |  |
| Approved By |  |  |  |