| 1.0 PREPARATION |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Space to be entered |  |  |  |  | Purpose of Entry |  |  |  |
| Location/Building |  |  |  |  |  |  |  |  |
| Method Statement Number |  |  |  |  | Authorised Duration of Permit (max one shift) From: To: |  |  |  |
| PERMIT SPACE HAZARDS |  |  |  |  | EQUIPMENT REQUIRED FOR ENTRY AND WORK |  |  |  |
| Oxygen Deficiency |  |  |  |  |  |  |  |  |
| Oxygen Enrichment |  |  |  |  | Additional PPE: __________________________________ |  |  |  |
| Flammable gases or vapours |  |  |  |  |  |  |  |  |
| Airborne combustible dust |  |  |  |  | Respiratory Protection: ____________________________ |  |  |  |
| Toxic gases or vapours |  |  |  |  |  |  |  |  |
| Mechanical hazards |  |  |  |  | First Aid Provision: _______________________________ |  |  |  |
| Electric shock |  |  |  |  |  |  |  |  |
| Materials harmful to skin |  |  |  |  | Communication: Visual Voice Radio/Cell |  |  |  |
| Use / ingress of substances |  |  |  |  | Tripod Retrieval System: Yes No |  |  |  |
| Other: |  |  |  |  | Other: |  |  |  |
| PREPARATION FOR ENTRY |  |  |  |  | PERSONAL AWARENESS: Pre-entry briefing on specific hazards and control methods and emergency plan Notify contractors of permit and hazard conditions Other: |  |  |  |
| Notification of affected departments of service interruption Emergency Plan attached Isolation Methods: |  |  |  |  |  |  |  |  |
| Ventilate: Continuous forced air ventilation must be utilised in instances where there is the likelihood of atmospheric hazards. |  |  |  |  |  |  |  |  |
| Atmospheric Test Inert Purge/clean |  |  |  |  | Additional Permits required and/or attached: Hot Work Electrical Other: |  |  |  |
| Blank/Blind LOTO Barriers |  |  |  |  |  |  |  |  |
| Test For: | Acceptable Values |  | Pre-Entry Time/Results |  |  | Break Time/Results | Break Time/Results | Break Time/Results |
| Oxygen | 19.5% min – 21% max |  |  |  |  |  |  |  |
| Flammability | Less than 10% |  |  |  |  |  |  |  |
| Hydrogen Sulfide (H2S) | Less than 10 ppm |  |  |  |  |  |  |  |
| Carbon Monoxide (CO) | Less than 35 ppm |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |
| Sampling Equipment and Date Last Calibrated: |  |  | Pre-Entry Measurements performed by Competent Person in charge of work. |  |  |  |  |  |
| Persons authorised to enter - Name |  | Signature |  | Persons authorised to enter - Name |  |  |  | Signature |
| 2.0 DECLARATION BY APPOINTED PERSON (AP) I confirm that the precautions listed in Part 1 have been completed and work on the equipment detailed in Part 1 can proceed with care. Signature of Appointed Person________________________________________Date_______________Time________ Print Name________________________________________ |  |  |  |  |  |  |  |  |
| 3.0 ACKNOWLEDGEMENT I have read and understood all the required precautions to be taken prior to and during entry. These have been fully explained to the operatives carrying out the work and I consider them competent to do it safely. I will return my copy of this permit to the Appointed Person when the work has been safely completed. Signature of Competent Person in charge of work _________________________ Date _______________Time_______ Print Name________________________________________ |  |  |  |  |  |  |  |  |
| 4.0 CLEARANCE Work in the above confined space has been completed (or stopped) and the operatives in my charge withdrawn Signature of Competent Person in charge of work _________________________ Date ______________Time________ Print Name________________________________________ |  |  |  |  |  |  |  |  |
| 5.0 CANCELLATION All copies of this permit are hereby cancelled. Signature of competent person in charge of work _________________________ Date _______________Time________ Print Name________________________________________ |  |  |  |  |  |  |  |  |