| sanction TO electrical test |  |  |  |
| --- | --- | --- | --- |
| Contract Reference: |  | Permit Number: |  |
| Part 1 Issue of Permit |  |  |  |
| To: (Person carrying out works) |  |  |  |
| I hereby declare that it is safe for the following test work to be carried out: |  |  |  |
| The equipment detailed below is safe for the testing work described above to proceed: |  |  |  |
| Points at which system is isolated: |  |  |  |
| Caution notices are to be posted at: |  |  |  |
| The equipment is efficiently earthed at the following points: |  |  |  |
| Other precautions: |  |  |  |
| Print Name: (Authorised Person) |  |  |  |
| Signed: | Date: |  | Time: |
| NB: After having signed for the work to proceed, the receipt must be signed by, and the sanction retained by, the person carrying out the works until the work is suspended or completed and the clearance / closure (part 3) has been signed. |  |  |  |
| Part 2 Receipt of Permit to be completed by Test Engineer |  |  |  |
| I accept responsibility for the test work described above and for taking the necessary safety precautions to avoid danger. |  |  |  |
| Print Name: (Person carrying out works) |  |  |  |
| Signed: | Date: |  | Time: |
| Part 3 Clearance |  |  |  |
| I hereby declare that all persons under my charge have been withdrawn and advised that sanction for the test work has been cancelled / closed out. The circuits tested, with the exception noted below, if appropriate, is ready for normal service. All circuits tested are confirmed isolated and locked off - Dead. Test results have been entered onto Draft Certification and Board schedules have been amended on the circuits tested. |  |  |  |
| EXCEPTION: |  |  |  |
| Print Name: (Person carrying out works) |  |  |  |
| Signed: | Date: |  | Time: |
| Part 4 Cancellation / Closure of Permit |  |  |  |
| I hereby declare this sanction for test cancelled / closed out. All circuits tested are confirmed isolated and locked off prior to issue of Permit to Energise. |  |  |  |
| Print Name: (Authorised Person) |  |  |  |
| Signed: | Date: |  | Time: |