| PERMIT TO ENERGISE / REQUEST FOR POWER |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Contract Reference: |  |  |  |  |  |  | Permit No: |  |
| Part 1 Details of Applicant |  |  |  |  |  |  |  |  |
| Company Name: |  |  |  |  |  |  |  |  |
| Name of Person Requesting Live Power on: |  |  |  |  |  |  |  |  |
| Plant / Equipment / System ID & Location: |  |  |  |  |  |  |  |  |
| Period Supply required | Date: |  |  |  |  | From: |  | To: |
| Part 2 Supply Details |  |  |  |  |  |  |  |  |
| Request received | Date: |  |  |  |  | Time: |  |  |
| Plant/Equipment fed from: |  |  |  |  |  |  |  |  |
| Means & Location of Isolation: |  |  |  |  |  |  |  |  |
| The equipment is efficiently earthed at the following points: |  | M.E.T - Yes / No *circle as appropriate |  |  | All Points of equipment connection - Yes / No *circle as appropriate |  |  |  |
| Equipotential Bond connected & verified prior to initial energisation of any live circuit – Yes / No *circle as appropriate – (No circuit to be energised unless at least one main equipotential bond is connected) |  |  |  |  |  |  |  |  |
| Supply/Equipment/Cable fully tested and safe to use: Yes / No *circle as appropriate |  |  |  |  |  |  |  |  |
| Draft Certification Completed for requested power & copy issued to applicant: Yes / No *circle as appropriate |  |  |  |  |  |  |  |  |
| Part 3 Conditions |  |  |  |  |  |  |  |  |
| The person(s)/organisation applying for and receiving power supplies from COMPANY NAME agree that it is their sole responsibility to ensure that all work on the energised equipment will be carried out in accordance with the duties imposed by the Electricity At Work Regulations 1989. They further warrant to COMPANY NAME that they will take responsibility for implementing a safe system of work for all electrical installations and equipment emanating from the isolation point made live by COMPANY NAME as a result of this application. |  |  |  |  |  |  |  |  |
| Part 4 Receipt |  |  |  |  |  |  |  |  |
| We hereby declare that we accept responsibility for governing the safe use of the power supply made available to us by COMPANY NAME and the duties set out in Part 3. |  |  |  |  |  |  |  |  |
| Applicant Name: |  |  | Signed: |  |  |  |  |  |
| COMPANY NAME AP Name: |  |  | Signed: |  |  |  |  |  |
| Date of Energisation: |  |  | Time: |  |  |  |  |  |
| Part 5 Clearance / Closing Out of Permit (only applicable if power is requested temporarily) |  |  |  |  |  |  |  |  |
| The applicant named in Part 4 hereby declares that the works for which power was requested is now complete and has been carried out in accordance with the duties imposed by the Electricity At Work Regulations 1989. The equipment listed in Part 1 can now be isolated and this permit closed out. |  |  |  |  |  |  |  |  |
| Applicant Name: |  |  |  | Signature: |  |  |  |  |
| COMPANY NAME AP Name: |  |  |  | Signature: |  |  |  |  |
| Date of Isolation: |  |  |  | Time: |  |  |  |  |

Results to be recorded on following pages