| Contractor Name: |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Job Location: |  |  |  |  |  |  |  |  |
| Details of work: |  |  |  |  |  |  |  |  |
| Permit is validity: Permit Ref: |  |  |  |  |  |  |  |  |
| Start Date: |  |  | Start Time: |  |  |  | End Date: |  |
| Ref | Safety Analysis:The following Hazards have been considered (circle hazards that are present) |  |  |  |  |  |  |  |
| 1 | Weather conditions (for the duration of works) rain/ wind speed |  |  |  | 4 | Condition of access equipment |  |  |
| 2 | Ground conditions (soft or uneven surface) adjacent excavations |  |  |  | 5 | Fragile surfaces/Fibre and Asbestos cement roof sheets/sky lights |  |  |
| 3 | Movement of vehicles |  |  |  | 6 | Building services, emissions from building/ sudden noise/overhead obstruction |  |  |
| Precautions: The following precautions have been considered (tick as completed) |  |  |  |  |  |  |  |  |
| 7 | Work is properly planned and organised |  |  |  | 9 | All equipment is appropriately inspected |  |  |
| 8 | Those involved are trained and competent |  |  |  | 10 | Risks from falling objects are properly controlled |  |  |
| Workplace Measures: As a result of the above safety analysis, the following access method and precautions must be used. |  |  |  |  |  |  |  |  |
| Is a Contractor Risk Assessment/Methods Statement Required YES/NO If YES Ref- |  |  |  |  |  |  |  |  |
| The following checks must be completed NO= PREVENT USE |  |  |  |  |  |  |  |  |
| Scaffolding (fixed and mobile) |  |  |  | Y/N/n/a |  |  |  | Y/N/n/a |
| Has scaffold been erected by competent person? |  |  |  |  |  | Have height restrictions been considered? |  |  |
| Has statutory inspection been conducted? |  |  |  |  |  | Are out riggers in place? |  |  |
| Is there suffcient lighting in working area? |  |  |  |  |  | Are hand and intermediate rails in place? |  |  |
| Have all fixed structures to which scaffold is attached, been assessed for load bearing capability? |  |  |  |  |  | Have measures been taken where necessary to prevent load bearing structures callapsing? |  |  |
| Mobile Elevated Work Platforms (MEWP) |  |  |  | Y/N/n/a |  |  |  | Y/N/n/a |
| Can work be undertaken with our over reaching? |  |  |  | Y |  | Is MEWP designed to travel in raised position? |  | Y |
| Are persons using MEWP wearing necessary PPE? |  |  |  | Y |  | Is total load within the SWL of MEWP? |  | Y |
| Has working area been defined for MEWP? |  |  |  | Y |  | Has operator got current license? |  | Y |
| Is travel area clear of all obstructions? |  |  |  | Y |  | Are barriers and warning signs in place? |  | Y |
| Steps and ladders |  |  |  | Y/N/n/a |  |  |  | Y/N/n/a |
| Are there sufficient steps to allow access without using the top three steps? |  |  |  | Y |  | Can step or ladders be positioned so as to avoid work off side? |  | Y |
| Is there sufficient hand hold for the operator- top step must be no lower than the midriff? |  |  |  | Y |  | Is the equipment marked to provide adequate identification within an inspection regime? |  | Y |
| Acceptance |  |  |  |  |  |  |  |  |
| Name: |  |  |  |  |  | Signature: |  |  |
| Authorisation |  |  |  |  |  |  |  |  |
| Name: |  |  |  |  |  | Signature: |  |  |
| Sign Off |  |  |  |  |  |  |  |  |
| Name: |  |  |  |  |  | Signature: |  |  |

IP-02-03-01-11