| Customer Site: | ?? | Job No: | ?? | Revision: | 1 |
| --- | --- | --- | --- | --- | --- |
| Task/Activity: | Visual Non-Intrusive Survey | Date: | ?? | Prepared By: | Engineer |

| Name Of Customer Site Contact | Site Address | Sequence & Method of Works |
| --- | --- | --- |
|  |  | Survey to be carried out on 12.07.2023 for Mechanical Works associated with xxx. The survey will comprise of a visual inspection (non-intrusive) at floor level, which will be backed-up with measured and photographic information where permitted. Works will consist of Survey work, survey notes, observations of current mechanical services condition, observations regarding impact on proposed design. Briefing from end users. Access will be required to the lab below ??? to trace drainage routes. Sequence of Operations - Operatives shall contact the reception area at Gate No. 6. - Liaise with site contact xxxx - Operatives to attend site on xxxx: - Engineers Name - Government issued photo ID required to obtain a visitors pass. - No electrics allowed onsite without completion of Blue Form – required for 1No. phone to take photographs) - Local supervision and escorting by appropriate Johnson Matthey personnel. - Operatives shall wear suitable PPE associated to the relevant hazards, which shall include helmet, hi-viz, safety boots, gloves and goggles, to be worn at all times. - Operatives to always abide by local security protocols. |
| Name Of Site Supervisor | Name Of Other Operatives Involved |  |
| Location & Duration Of Works |  |  |
| 0.5 day |  |  |
| Hazards Associated with the Task |  |  |
| Slips, Trips, Falls, Exposure to Chemicals / Hazardous Materials (Solids, Liquids and Gases) |  |  |
| Tools, Equipment & Plant To Be Used |  |  |
| No Plant. Camera (if permitted), Tape Measure, note pad, layout drawings. |  |  |
| Emergency Procedures / Asbestos |  |  |
| The buildings own emergency procedures will apply, these must be noted upon arrival. |  |  |
| Training Requirements |  |  |
| Site specific indication undertaken by operatives attending. |  |  |
| Other information & Comments |  |  |
| We have received confirmation that all asbestos has been removed from site. |  |  |

| Risk Assessment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hazards Identified |  |  |  |  |  | Asbestos |  |  |  | COSHH |  |  |  |  |  |  |  | Noise |  |  |  |  |  |  |  | Trips |  |  |  |  | X | Electricity |  |  |  |  | Manual Handling |  |  |  |  |  |  |  |  |  |  | Burns |  |  |  |  |  |  | Moving Vehicles |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Explosion |  |  |  | Radiation |  |  |  |  |  |  |  | UV Light |  |  |  |  |  |  |  | Falls |  |  |  |  | X | Hot Works |  |  |  |  | Unstable Walls |  |  |  |  |  |  |  |  |  |  | Dust |  |  |  |  |  |  | Power Tools |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Collapse of Excavation |  |  |  |  |  |  |  |  |  |  |  | U Services |  |  |  |  |  |  |  | Slips |  |  |  |  | X | Fire |  |  |  |  | Falling objects |  |  |  |  |  |  |  |  |  |  | Plant |  |  |  |  |  |  | Bad Weather |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Collapse of Walls |  |  |  |  |  |  |  |  |  |  |  | Overhead Power Lines |  |  |  |  |  |  |  |  |  |  |  |  |  | Vibration |  |  |  |  | Aircraft |  |  |  |  |  |  |  |  |  |  | Bursting Abrasive Wheel |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Collapse of Scaffold |  |  |  |  |  |  |  |  |  |  |  | Glass Fibre Insulation |  |  |  |  |  |  |  |  |  |  |  |  |  | Lone Work |  |  |  |  | Airside Vehicles |  |  |  |  |  |  |  |  |  |  | Microorganismes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Persons at Risk |  |  |  |  | Employees |  |  |  |  |  | X |  | Other Contractors |  |  |  |  |  |  |  |  |  | Members of Public |  |  |  |  |  |  |  |  |  |  |  | Young Persons |  |  |  |  |  |  |  |  |  | Site Visitors |  |  |  |  |  |  |  |  |  |  |  | Children |  |  |  |  |  |  |  |  |  |
| Training Required |  |  |  |  | Trained engineer. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Permits |  |  |  |  |  | Permit To Work Required |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hazardous Substances |  |  |  |  |  |  |  | N/A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Key For Assessment Values |  |  |  |  |  |  |  |  |  | Risk Level Matrix Assessment Before Controls / PPE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Scores |  |  |  | Risk Level Matrix Reassessed After Controls / PPE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Probability |  |  | Severity |  |  |  |  |  |  | P r o b a b I l I t y |  | Severity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | High Over 40 |  |  |  | P r o b a b I l I t y | Severity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 9 | 8 |  |  |  | 7 | 6 |  | 5 |  |  | 4 |  |  | 3 |  | 2 |  | 1 |  |  |  |  |  |  |  | 9 |  |  |  | 8 |  |  | 7 |  | 6 | 5 |  |  |  |  |  | 4 |  |  | 3 |  | 2 |  | 1 |  |  |
| 9 | Likely / Frequent |  | 9 | Fatality / Major Disaster |  |  |  |  |  |  |  | 9 |  | 81 | 72 |  |  |  | 63 | 54 |  | 45 |  |  | 36 |  |  | 27 |  | 18 |  | 9 |  |  |  |  |  |  | 9 | 81 |  |  |  | 72 |  |  | 63 |  | 54 | 45 |  |  |  |  |  | 36 |  |  | 27 |  | 18 |  | 9 |  |  |
| 8 |  |  | 8 |  |  |  |  |  |  |  |  | 8 |  | 72 | 64 |  |  |  | 56 | 48 |  | 43 |  |  | 32 |  |  | 24 |  | 16 |  | 8 |  | Medium 20 – 40 |  |  |  |  | 8 | 72 |  |  |  | 64 |  |  | 56 |  | 48 | 43 |  |  |  |  |  | 32 |  |  | 24 |  | 16 |  | 8 |  |  |
| 7 | Probable |  | 7 | Major Injury / Major Damage |  |  |  |  |  |  |  | 7 |  | 63 | 56 |  |  |  | 49 | 42 |  | 35 |  |  | 28 |  |  | 21 |  | 14 |  | 7 |  |  |  |  |  |  | 7 | 63 |  |  |  | 56 |  |  | 49 |  | 42 | 35 |  |  |  |  |  | 28 |  |  | 21 |  | 14 |  | 7 |  |  |
| 6 |  |  | 6 |  |  |  |  |  |  |  |  | 6 |  | 54 | 48 |  |  |  | 42 | 36 |  | 30 |  |  | 24 |  |  | 18 |  | 12 |  | 6 |  |  |  |  |  |  | 6 | 54 |  |  |  | 48 |  |  | 42 |  | 36 | 30 |  |  |  |  |  | 24 |  |  | 18 |  | 12 |  | 6 |  |  |
| 5 | Possible |  | 5 | Minor Injury / Minor Damage |  |  |  |  |  |  |  | 5 |  | 45 | 40 |  |  |  | 35 | 30 |  | 25 |  |  | 20 |  |  | 15 |  | 10 |  | 5 |  | Low 4 –18 |  |  |  |  | 5 | 45 |  |  |  | 40 |  |  | 35 |  | 30 | 25 |  |  |  |  |  | 20 |  |  | 15 |  | 10 |  | 5 |  |  |
| 4 |  |  | 4 |  |  |  |  |  |  |  |  | 4 |  | 36 | 32 |  |  |  | 28 | 24 |  | 20 |  |  | 16 |  |  | 12 |  | 8 |  | 4 |  |  |  |  |  |  | 4 | 36 |  |  |  | 32 |  |  | 28 |  | 24 | 20 |  |  |  |  |  | 16 |  |  | 12 |  | 8 |  | 4 |  |  |
| 3 | Remote |  | 3 | No Injury |  |  |  |  |  |  |  | 3 |  | 27 | 24 |  |  |  | 21 | 18 |  | 15 |  |  | 12 |  |  | 9 |  | 6 |  | 3 |  |  |  |  |  |  | 3 | 27 |  |  |  | 24 |  |  | 21 |  | 18 | 15 |  |  |  |  |  | 12 |  |  | 9 |  | 6 |  | 3 |  |  |
| 2 |  |  | 2 |  |  |  |  |  |  |  |  | 2 |  | 18 | 16 |  |  |  | 14 | 12 |  | 10 |  |  | 8 |  |  | 6 |  | 4 |  | 2 |  | Acceptable Risk LOW |  |  |  |  | 2 | 18 |  |  |  | 16 |  |  | 14 |  | 12 | 10 |  |  |  |  |  | 8 |  |  | 6 |  | 4 |  | 2 |  |  |
| 1 | Improbable |  | 1 | No Damage |  |  |  |  |  |  |  | 1 |  | 9 | 8 |  |  |  | 7 | 6 |  | 5 |  |  | 4 |  |  | 3 |  | 2 |  | 1 |  |  |  |  |  |  | 1 | 9 |  |  |  | 8 |  |  | 7 |  | 6 | 5 |  |  |  |  |  | 4 |  |  | 3 |  | 2 |  | 1 |  |  |
| Control measures identified to avoid or minimise risk plus any other PPE not listed – Reassess task after controls / PPE selected and enter score above. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | PPE MUST BE WORN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  | Correct PPE Kit to be worn at all times or job specific. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Hard Hat |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |
| 2 |  | Survey work only to be undertaken from finished floor level. All services are assumed to be live. Visual Survey only |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Safety Footwear |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |
| 3 |  | Survey work only to be undertaken in well-lit and well-ventilated areas. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Work Wear |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  | Complete site-specific inductions and always adhere to client / site requirements and procedures. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | High Vis Vest / Jacket |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |
| 5 |  | Asbestos has been removed from site, however operatives to be vigilant at all times. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Hearing Protection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  | Survey to be carried out in pairs to minimise lone working |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Eye Protection |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Gloves |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Dust Mask |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Breathing Apparatus |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Welding Mask / Leathers |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Safety Harness |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| This Assessment must be reviewed when controls detailed above are no longer adequate to reduce risk to an acceptable level |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Signed: |  |  |  |  |  |  | Print: # xx |  |  |  |  |  |  |  |  |  | Review Date: xx |  |  |  |  |  |  |  |  |  |  |  | Risk level after controls acceptable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  | Yes |  | No |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Further information required – Details |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  | No |  |  |  |  |  |  |  |