Scope of Works – Design

The provision of all necessary personnel, resources and equipment required to produce a fully detailed spatially co-ordinated model for the Mechanical and Electrical Services as indicated on the design intent drawings and referenced within the M&E specifications.

The scope of works includes (but is not limited to) the following:

- Co-ordination of all services into the 3D model (3D model to be issued by IESNL) and production of working 2D drawings and Schematics.

- All necessary site visits to required to produce accurate information

- Attendance as required at site progress / drawing review meetings etc

- Drawings for all services detailed below to scale as per BSRIA standards and all other standards referred to within the relevant specifications:

  - Above Ground Drainage

  - Domestic Water Services

  - LTHW

  - Chilled Water

  - Medical Gases

  - Ventilation

  - Containment

  - Small Power and data

  - Nurse Call

  - Fire Alarm

  - LV Distribution

  - Lighting

  - Ancillary Services

  - IPS / UPS

  - Builderswork details

  - Toilet Area drawings

  - Plantroom Layouts

  - Sections / Pinch-points (as required)

  - Detailed working drawings where requested by IESN

- Drawings to be produced as attached Drawing Schedule (5 pages)

- Provision of completed 3D model

All drawings to be completed and issued as per M&E Drawing Release Programme.

All works undertaken to be compatible with the software on which the original model was based.

All works to be uploaded onto the Project Portal if applicable.