Scope of Works – BMS Installation

The works include but not limited to design, supply, delivery, installation, testing and commissioning of the complete BMS System and associated interfaces with other services as detailed within the specifications, drawings and schedules included in the sub-contract order documentation and all in accordance with the current regulations and requirements, all specifications, drawings and supplementary correspondence referred to herein (the Sub-Contract Works).

You are to provide all necessary management, supervision, labour, plant, materials, equipment, tools, consumables, ancillaries, access equipment, liaison with the builder and other trades to carry out the BMS System installation including all associated works, method statements & risk assessments.

All works are to be carried out in accordance with the Main and Subcontract requirements, including all Specifications, and Drawings detailed herein, and the latest British Standards & Regulations.

The BMS system (as well as the above) is to comply with all relevant:

- British Standards

- Current legislation

You are to provide all materials, tools, equipment, access equipment, supervision, commissioning attendance required to complete the project in its entirety.

Power supplies are provided to feed your MCCP’s only. All other works in relation to this package are to be provided by yourselves including all control cabling and all containment required.

All system graphics, software design, description of operations etc. are to be designed by yourselves & issued for technical approval. All design responsibility remains with yourselves despite any sign off given, as the specialist, it is envisaged that you will interpret the information received correctly.

Design responsibility for the system within the parameters of the outline design provided within the specification, will be by yourself.

You are to allow for all containment required within the plantroom and all areas as required.

You are to allow for the supply of all control panels which are required in order to allow functionality of the project. This is within your design.

You are to allow for the monitoring only of all meters detailed within the drawings / specifications.

You are to allow for the supply and installation of a fire alarm connections to meet the specification requirements.

You are to fully control all Air Handling units in line with the specification issued to yourselves, as well as the provision of all power supplies required.

You are to allow for interfaces as required to all items of plant.

You are to allow for monitoring all extract fans including the monitoring of filter conditions at each if installed.

You are to allow for the full control of all the water heating plant for both domestic purposes and for the LTHW system.

The contractor shall include for all works and materials allied and incidental, which are not explicitly specified, but, which are necessary to complete the installation as a whole, including all access equipment where required, inclusive of specialist scaffolding.

All material is to be stored and protected against damage either physical or weather ingress damage.

The sub-contractor is responsible for the protection of their works against damage until such time that PC is achieved. It shall not be the responsibility of COMPANY NAME, nor its other subcontractors, to do so.

The sub-contractors price shall be in full compliance with the enclosed specification taking note of all its particular requirements over and above that which would normally be expected.

The sub-contractor has allowed to provide all fixings, fixings to be suitable for application, environment and building fabric.

The sub-contractor is to include for all access equipment to enable safe installation of the works, including those at high level.

Work areas to be left clean and tidy at the end of each shift / clean as you go, the main contractor will be enforcing this and charges may be applied for non-conformance.

The works are to be carried out in a manner and sequence that fully coordinates with the main construction program and with all other services within the building construction, prior to commencing the works a fully detailed programme of works is to be submitted for our review inclusive of the projected labour in the form of a labour histogram for each discipline.

All works are to be carried out under the Construction (Design & Management) Regulations, and you shall have made all necessary allowances as required under the said regulations to carry out these works.

All work carried out under this contract are to be executed in the manner set out as above and in full compliance with current legislation and codes of practice, to the complete satisfaction of relevant industry standards.

All work should conform to the best principles of modern practice and should be carried out by fully competent tradesperson of appropriate grades, under skilled supervision SSSTS. It is your responsibility to provide a SSSTS supervisor for every 10no. men that you have working on the project, COMPANY NAME will not be providing such a facility on your behalf.

All work should conform to the best principles of modern practice and should be carried out by fully competent tradesperson’s who hold the appropriate grades and relevant CSCS skill card.

The works are to be supervised at all times by a skilled supervisor SSSTS who is a direct employee, in addition to the supervisor duties your supervisor will be required to attend daily safe start meetings and also liaise with our site representative on a daily basis and may be called to attend ongoing program and coordination meetings at a site level.

Subcontractor supervisor to attend health & safety meetings as required to highlight daily H&S Issues and activities.

Certification and fully detailed information for inclusion within the operating and maintenance manuals is to be provided for each element. Noting operating manuals and as fitted drawings are to be made available no later than 2 weeks prior to PC.