NON DOMESTIC PLANT COMMISSIONING/SERVICING RECORD

To confirm the validity of the Registered Gas Engineer please contact Gas Safe on 0800 408 5577 or www.gassaferegister.co.uk

| COMPANY NAME Gas Safe Reg No: 000000 W: WEB E: EMAIL Job Number: | CLIENT DETAILS |
| --- | --- |
|  | Name: |
|  | Address: |
|  | Postcode: |
|  | Date: |

| APPLIANCE SPECIFICS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Appliance 1 |  |  |  |  | Appliance 2 |  |  |  |  |  |  | Appliance 3 |  |  |  |  |  | Appliance 4 |  |  |  |  |  |
| Asset Number |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Location of appliance |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Appliance type |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Appliance make |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Appliance model |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Type of flue/outlet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| COMBUSTION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Appliance 1 |  |  |  |  |  | Appliance 2 |  |  |  |  |  | Appliance 3 |  |  |  |  |  | Appliance 4 |  |  |  |  |
| Firing Mode |  | LOW |  |  | HIGH |  |  | LOW |  |  | HIGH |  |  | LOW |  |  | HIGH |  |  | LOW |  | HIGH |  |  |
| State heat input rating (kW) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Burner pressure (mbar) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Rate of gas (m3/hr) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Flue gas temperature (°C) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Temperature of room (°C) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Flue gas temperature (NET) (°C) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Draught pressure of flue |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| What is the Oxygen %? (O2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Carbon Monoxide (CO) ppm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| What is the Carbon Dioxide %? (CO2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NOx % |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Excess air % |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| State the CO/CO2 ratio |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CO flue dilution ppm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| What is the gross efficiency % |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| EXTRA CHECKS UNDERTAKEN |  | Appliance 1 |  |  |  |  |  | Appliance 2 |  |  |  |  |  | Appliance 3 |  |  |  |  |  | Appliance 4 |  |  |  |  |
| Is there adequate ventilation? |  | Yes |  |  | No |  |  | Yes |  |  | No |  |  | Yes |  |  | No |  |  | Yes |  | No |  |  |
| Acceptable spillage test? |  | Yes |  |  | No |  |  | Yes |  |  | No |  |  | Yes |  |  | No |  |  | Yes |  | No |  |  |
| Was the flue flow test satisfactory? |  | Yes |  |  | No |  |  | Yes |  |  | No |  |  | Yes |  |  | No |  |  | Yes |  | No |  |  |
| Is the Air/gas pressure switch working? |  | Yes |  |  | No |  |  | Yes |  |  | No |  |  | Yes |  |  | No |  |  | Yes |  | No |  |  |
| Are Safety device(s) working? |  | Yes |  |  | No |  |  | Yes |  |  | No |  |  | Yes |  |  | No |  |  | Yes |  | No |  |  |
| What is the burner lock out time (seconds)? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Are temperature thermostats working? |  | Yes |  |  | No |  |  | Yes |  |  | No |  |  | Yes |  |  | No |  |  | Yes |  | No |  |  |
| Are limit thermostats working? |  | Yes |  |  | No |  |  | Yes |  |  | No |  |  | Yes |  |  | No |  |  | Yes |  | No |  |  |
| Has the appliance been serviced? |  | Yes |  |  | No |  |  | Yes |  |  | No |  |  | Yes |  |  | No |  |  | Yes |  | No |  |  |
| STANDARD SAFETY CHECKS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is the gas compressor/booster working correctly? |  |  |  |  |  |  |  |  | Has a gas tightness test been undertaken? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is the installation adequately sleeved and labelled? |  |  |  |  |  |  |  |  | Is the installation pipework sufficiently supported ? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Has the chimney system been installed to current standards? |  |  |  |  |  |  |  |  | Is the outlet termination adequate? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NATURAL VENTILATION |  |  |  |  |  |  |  |  | MECHANICAL VENTILATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Room/Boiler lower level free area (cm2) |  |  |  |  |  |  |  |  | Mechanical flow rate inlet (m3/s) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Room/Boiler higher level free area (cm2) |  |  |  |  |  |  |  |  | Mechanical flow rate extract (m3/s) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is ventilation adequate? |  |  |  |  |  |  |  |  | Is ventilation adequate? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| LIST WORK UNDERTAKEN |  |  |  |  |  |  |  |  | LIST REMEDIAL WORK NEEDED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Has a Warning/Advice Notice been issued? Y/N |  |  |  | Have Warning Labels been attached? Y/N |  |  |  |  |  |  |  |  |  |  | Has a responsible person been advised? Y/N |  |  |  |  |  |  |  |  |  |

| Engineer | Name | Signature |
| --- | --- | --- |