Design Input Review Checklist

# Document Control

| Field | Details |
| --- | --- |
| Customer / Project |  |
| Job Number |  |
| Panel / Switchgear Reference |  |
| Drawing Revision |  |
| Prepared By |  |
| Date |  |

# Customer and Technical Requirements

| No. | Check / Requirement | Status | By | Comments |
| --- | --- | --- | --- | --- |
| 1 | Customer specification reviewed | Yes / No / N/A |  |  |
| 2 | Process requirements understood | Yes / No / N/A |  |  |
| 3 | Control philosophy reviewed | Yes / No / N/A |  |  |
| 4 | Equipment to be controlled identified | Yes / No / N/A |  |  |
| 5 | Operating environment identified | Yes / No / N/A |  |  |
| 6 | Incoming supply details confirmed | Yes / No / N/A |  |  |
| 7 | IP rating confirmed | Yes / No / N/A |  |  |
| 8 | Cable entry requirements confirmed | Yes / No / N/A |  |  |
| 9 | Space and maintenance access reviewed | Yes / No / N/A |  |  |
| 10 | Labelling requirements confirmed | Yes / No / N/A |  |  |
| 11 | Testing and witnessing requirements confirmed | Yes / No / N/A |  |  |

# Risk and Compliance

| No. | Check / Requirement | Status | By | Comments |
| --- | --- | --- | --- | --- |
| 1 | Applicable standards identified | Yes / No / N/A |  |  |
| 2 | Safety and emergency stop requirements reviewed | Yes / No / N/A |  |  |
| 3 | Functional safety requirements considered | Yes / No / N/A |  |  |
| 4 | Interface requirements identified | Yes / No / N/A |  |  |
| 5 | Remote monitoring / communications requirements considered | Yes / No / N/A |  |  |
| 6 | Cyber security or network requirements considered | Yes / No / N/A |  |  |

# Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Completed By |  |  |  |
| Checked By |  |  |  |
| Approved By |  |  |  |