Wiring & Internal Assembly Inspection Checklist

# Document Control

| Field | Details |
| --- | --- |
| Customer / Project |  |
| Job Number |  |
| Panel / Switchgear Reference |  |
| Drawing Revision |  |
| Prepared By |  |
| Date |  |

# Wiring Checks

| No. | Check / Requirement | Status | By | Comments |
| --- | --- | --- | --- | --- |
| 1 | Correct cable type used | Yes / No / N/A |  |  |
| 2 | Correct cable size used | Yes / No / N/A |  |  |
| 3 | Correct wire colours used | Yes / No / N/A |  |  |
| 4 | Ferrules fitted | Yes / No / N/A |  |  |
| 5 | Terminal references correct | Yes / No / N/A |  |  |
| 6 | Wires routed neatly | Yes / No / N/A |  |  |
| 7 | Segregation maintained | Yes / No / N/A |  |  |
| 8 | Screened cables terminated correctly | Yes / No / N/A |  |  |
| 9 | Protective bonding complete | Yes / No / N/A |  |  |
| 10 | Terminals tightened | Yes / No / N/A |  |  |
| 11 | Torque settings applied where required | Yes / No / N/A |  |  |
| 12 | Labels fitted | Yes / No / N/A |  |  |

# Assembly Checks

| No. | Check / Requirement | Status | By | Comments |
| --- | --- | --- | --- | --- |
| 1 | Relays and contactors installed correctly | Yes / No / N/A |  |  |
| 2 | PLCs / HMIs / drives installed correctly where applicable | Yes / No / N/A |  |  |
| 3 | Protective devices installed correctly | Yes / No / N/A |  |  |
| 4 | No exposed conductors or loose strands | Yes / No / N/A |  |  |
| 5 | Covers and shrouds fitted where required | Yes / No / N/A |  |  |

# Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Completed By |  |  |  |
| Checked By |  |  |  |
| Approved By |  |  |  |